## TZ0324052642
Device Information
******************************
Device Type: TZ-TempU03
Firmware Ver: 4.06
ID: TZ0324052642
Start Delay: 0 min
Log Interval: 30 sec
Description: Pruebas termicas
Note:
All times shown are based on UTC-6:00 and 24-Hour clock[DD/MM/YY HH:MM:SS]
Logging Summary
******************************
First Point: 29/04/25 12:42:47
Stop Time: 29/04/25 13:16:17
Number of Points: 68
Trip Length: 00d 00h 33m 30s
Start Mode: Button Start
Stop Mode: Manual Stop
Max: 28.0C(Temp)/66.1%RH(Humidity)
Min: 2.2C(Temp)/29.5%RH(Humidity)
Average:12.4C(Temp)/34.5%RH(Humidity)
MKT: 17.1C
Marked Events
******************************
N/A
Alarm Condition | Alarm Delay | First Point Time | Time of Violations | No.of Violations | Status
****************************** | ****************************** | ****************************** | ******************************
Over 8.0C | 00d 00h 10m 00s | 29/04/25 12:42:47 | 00d 00h 18m 30s | 38 | Alarm
Below 2.0C | 00d 00h 10m 00s | 00/00/00 00:00:00 | 00d 00h 00m 00s | 0 | OK
Over 90.0%RH | 00d 00h 10m 00s | 00/00/00 00:00:00 | 00d 00h 00m 00s | 0 | OK
Below 15.0%RH | 00d 00h 10m 00s | 00/00/00 00:00:00 | 00d 00h 00m 00s | 0 | OK
Date | Time | Temperature(C) | Humidity(%RH)
****************************** | ****************************** | ****************************** | ******************************
2025-04-29 | 12:42:47 | 27.9 | 46.8
2025-04-29 | 12:43:17 | 28 | 37.7
2025-04-29 | 12:43:47 | 27.9 | 36.4
2025-04-29 | 12:44:17 | 27.8 | 35.7
2025-04-29 | 12:44:47 | 27.7 | 34.7
2025-04-29 | 12:45:17 | 27.5 | 34.7
2025-04-29 | 12:45:47 | 27.4 | 34.4
2025-04-29 | 12:46:17 | 27.3 | 34.5
2025-04-29 | 12:46:47 | 27.1 | 34.1
2025-04-29 | 12:47:17 | 26.7 | 33.5
2025-04-29 | 12:47:47 | 26.1 | 32.6
2025-04-29 | 12:48:17 | 25.3 | 31.7
2025-04-29 | 12:48:47 | 24.5 | 30.9
2025-04-29 | 12:49:17 | 23.6 | 30.3
2025-04-29 | 12:49:47 | 22.6 | 29.9
2025-04-29 | 12:50:17 | 21.7 | 29.6
2025-04-29 | 12:50:47 | 20.8 | 29.5
2025-04-29 | 12:51:17 | 19.9 | 29.6
2025-04-29 | 12:51:47 | 19.1 | 29.6
2025-04-29 | 12:52:17 | 18.2 | 29.7
2025-04-29 | 12:52:47 | 17.4 | 29.8
2025-04-29 | 12:53:17 | 16.7 | 30.1
2025-04-29 | 12:53:47 | 16 | 30.3
2025-04-29 | 12:54:17 | 15.3 | 30.4
2025-04-29 | 12:54:47 | 14.6 | 30.7
2025-04-29 | 12:55:17 | 14 | 30.8
2025-04-29 | 12:55:47 | 13.4 | 31
2025-04-29 | 12:56:17 | 12.8 | 31.2
2025-04-29 | 12:56:47 | 12.2 | 31.4
2025-04-29 | 12:57:17 | 11.7 | 31.5
2025-04-29 | 12:57:47 | 11.2 | 31.7
2025-04-29 | 12:58:17 | 10.7 | 31.8
2025-04-29 | 12:58:47 | 10.3 | 31.9
2025-04-29 | 12:59:17 | 9.8 | 32
2025-04-29 | 12:59:47 | 9.3 | 32.1
2025-04-29 | 13:00:17 | 8.9 | 32.3
2025-04-29 | 13:00:47 | 8.5 | 32.4
2025-04-29 | 13:01:17 | 8.1 | 32.5
2025-04-29 | 13:01:47 | 7.7 | 32.6
2025-04-29 | 13:02:17 | 7.3 | 32.7
2025-04-29 | 13:02:47 | 7 | 32.7
2025-04-29 | 13:03:17 | 6.6 | 32.8
2025-04-29 | 13:03:47 | 6.3 | 32.9
2025-04-29 | 13:04:17 | 5.9 | 33
2025-04-29 | 13:04:47 | 5.6 | 33.1
2025-04-29 | 13:05:17 | 5.3 | 33.2
2025-04-29 | 13:05:47 | 5 | 33.3
2025-04-29 | 13:06:17 | 4.7 | 33.4
2025-04-29 | 13:06:47 | 4.4 | 33.5
2025-04-29 | 13:07:17 | 4.1 | 33.6
2025-04-29 | 13:07:47 | 3.8 | 33.7
2025-04-29 | 13:08:17 | 3.6 | 33.8
2025-04-29 | 13:08:47 | 3.3 | 33.9
2025-04-29 | 13:09:17 | 3 | 33.9
2025-04-29 | 13:09:47 | 2.8 | 34
2025-04-29 | 13:10:17 | 2.5 | 33.9
2025-04-29 | 13:10:47 | 2.3 | 34
2025-04-29 | 13:11:17 | 2.2 | 34.2
2025-04-29 | 13:11:47 | 2.2 | 34.6
2025-04-29 | 13:12:17 | 2.3 | 34.8
2025-04-29 | 13:12:47 | 2.3 | 35
2025-04-29 | 13:13:17 | 2.5 | 35.2
2025-04-29 | 13:13:47 | 2.6 | 35.2
2025-04-29 | 13:14:17 | 2.9 | 39
2025-04-29 | 13:14:47 | 3.4 | 49.2
2025-04-29 | 13:15:17 | 4.3 | 59.1
2025-04-29 | 13:15:47 | 5.6 | 64.7
2025-04-29 | 13:16:17 | 6.8 | 66.1

## data_030
time (min) | Time | Temp | Tmodelo | error |  |  | k | delta_T
0 | 12:45:47 | 27.4 | 27.4 | 0 | 0
0.5 | 12:46:17 | 27.3 | 26.2872 | 1.0258 | 1.0128 |  | 0.0085653 | [6 empty] | Temperatura ambiental (T0) |  | 27.4
1 | 12:46:47 | 27.1 | 25.2273 | 3.5071 | 1.8727 |  | 0.017241 | [6 empty] | T_objetivo |  | 4
1.5 | 12:47:17 | 26.7 | 24.2178 | 6.1614 | 2.4822 |  | 0.034935 | 0.4
2 | 12:47:47 | 26.1 | 23.2563 | 8.0866 | 2.8437 |  | 0.053575 | 0.6 |  | 27.4 + (27.3 - 27.4) * EXP(-H2 * A2)
2.5 | 12:48:17 | 25.3 | 22.3405 | 8.7584 | 2.9595 |  | 0.073741 | 0.8 | [5 empty] | Usar diferencial de tiempo entre 2 puntos para estimar k
3 | 12:48:47 | 24.5 | 21.4683 | 9.1911 | 3.0317 |  | 0.076564 | 0.8
3.5 | 12:49:17 | 23.6 | 20.6376 | 8.7759 | 2.9624 |  | 0.089791 | 0.9
4 | 12:49:47 | 22.6 | 19.8464 | 7.5825 | 2.7536 |  | 0.10474 | 1 | [5 empty] | ## en promedio, el sistema baja 1 grado por minuto durante los primeros 18 min
4.5 | 12:50:17 | 21.7 | 19.0928 | 6.7977 | 2.6072 |  | 0.099194 | 0.9
5 | 12:50:47 | 20.8 | 18.375 | 5.8806 | 2.425 |  | 0.10437 | 0.9
5.5 | 12:51:17 | 19.9 | 17.6914 | 4.878 | 2.2086 |  | 0.11012 | 0.9 | [5 empty] | descenso promedio: | 0.5675
6 | 12:51:47 | 19.1 | 17.0403 | 4.2425 | 2.0597 | 0.19828 | 0.10325 | 0.8 | [5 empty] | k_promedio | 0.18974
6.5 | 12:52:17 | 18.2 | 16.4201 | 3.168 | 1.7799 |  | 0.12291 | 0.9 | [5 empty] | k propuesta2: | 0.09
7 | 12:52:47 | 17.4 | 15.8295 | 2.4666 | 1.5705 |  | 0.11597 | 0.8
7.5 | 12:53:17 | 16.7 | 15.2669 | 2.0538 | 1.4331 |  | 0.10731 | 0.7 |  |  | k_opt | 0.097449
8 | 12:53:47 | 16 | 14.7311 | 1.6101 | 1.2689 |  | 0.11339 | 0.7
8.5 | 12:54:17 | 15.3 | 14.2208 | 1.1648 | 1.0792 |  | 0.12021 | 0.7 | [5 empty] | Usar k para predecir valores temp
9 | 12:54:47 | 14.6 | 13.7347 | 0.74877 | 0.86531 |  | 0.1279 | 0.7 |  |  | T_pruebapasada
9.5 | 12:55:17 | 14 | 13.2717 | 0.53036 | 0.72826 |  | 0.11654 | 0.6 |  |  | 0 | 27.44 | 27.4 | T(t) | 23.5453
10 | 12:55:47 | 13.4 | 12.8308 | 0.32398 | 0.56919 |  | 0.12375 | 0.6 |  |  | 2 |  | 23.2563
10.5 | 12:56:17 | 12.8 | 12.4108 | 0.15144 | 0.38915 |  | 0.13192 | 0.6 |  |  | 5 | 23.19 | 18.375
11 | 12:56:47 | 12.2 | 12.0109 | 0.035775 | 0.18914 |  | 0.14124 | 0.6 |  |  | 7 |  | 15.8295
11.5 | 12:57:17 | 11.7 | 11.6299 | 0.0049156 | 0.070112 |  | 0.12583 | 0.5 |  |  | 10 | 11 | 12.8308
12 | 12:57:47 | 11.2 | 11.267 | 0.0044941 | 0.067038 |  | 0.13428 | 0.5 |  |  | 12 |  | 11.267
12.5 | 12:58:17 | 10.7 | 10.9214 | 0.049037 | 0.22144 |  | 0.14395 | 0.5 |  |  | 15 | 6.62 | 9.4249
13 | 12:58:47 | 10.3 | 10.5923 | 0.08543 | 0.29228 |  | 0.12312 | 0.4 |  |  | 17 |  | 8.4643
13.5 | 12:59:17 | 9.8 | 10.2788 | 0.22923 | 0.47878 |  | 0.16538 | 0.5 |  |  | 20 | 3.56 | 7.3326
14 | 12:59:47 | 9.3 | 9.9802 | 0.46265 | 0.68018 |  | 0.1803 | 0.5
14.5 | 13:00:17 | 8.9 | 9.6958 | 0.63327 | 0.79578 |  | 0.15694 | 0.4 | k2= | 0
15 | 13:00:47 | 8.5 | 9.4249 | 0.85546 | 0.92491 |  | 0.17032 | 0.4
15.5 | 13:01:17 | 8.1 | 9.1669 | 1.1383 | 1.0669 |  | 0.18618 | 0.4
16 | 13:01:47 | 7.7 | 8.9212 | 1.4913 | 1.2212 |  | 0.20531 | 0.4
16.5 | 13:02:17 | 7.3 | 8.6872 | 1.9242 | 1.3872 |  | 0.22882 | 0.4
17 | 13:02:47 | 7 | 8.4643 | 2.1441 | 1.4643 |  | 0.19062 | 0.3
17.5 | 13:03:17 | 6.6 | 8.252 | 2.729 | 1.652 |  | 0.2862 | 0.4
18 | 13:03:47 | 6.3 | 8.0497 | 3.0616 | 1.7497 |  | 0.2452 | 0.3
18.5 | 13:04:17 | 5.9 | 7.8572 | 3.8305 | 1.9572 |  | 0.38211 | 0.4
19 | 13:04:47 | 5.6 | 7.6737 | 4.3003 | 2.0737 |  | 0.3437 | 0.3
19.5 | 13:05:17 | 5.3 | 7.499 | 4.8357 | 2.199 |  | 0.41528 | 0.3
20 | 13:05:47 | 5 | 7.3326 | 5.4411 | 2.3326 |  | 0.52473 | 0.3
20.5 | 13:06:17 | 4.7 | 7.1741 | 6.1213 | 2.4741 |  | 0.71335 | 0.3
21 | 13:06:47 | 4.4 | 7.0232 | 6.8811 | 2.6232 |  | 1.1192 | 0.3
21.5 | 13:07:17 | 4.1 |  |  | 48.8508 |  | 2.7726 | 0.3
22 | 13:07:47 | 3.8 |  |  |  |  | #NUM!
22.5 | 13:08:17 | 3.6 |  |  | 64.8236 |  | -1.3863
23 | 13:08:47 | 3.3 |  | 133.364 |  |  | -1.1192
23.5 | 13:09:17 | 3 |  |  |  |  | -0.71335
24 | 13:09:47 | 2.8 |  |  |  |  | -0.36464
24.5 | 13:10:17 | 2.5 |  |  |  |  | -0.44629
25 | 13:10:47 | 2.3 |  |  |  |  | -0.25033
25.5 | 13:11:17 | 2.2 |  |  |  |  | -0.11432
26 | 13:11:47 | 2.2 |  |  |  |  | 0
26.5 | 13:12:17 | 2.3 |  |  |  |  | 0.11432
27 | 13:12:47 | 2.3 |  |  |  |  | 0
27.5 | 13:13:17 | 2.5 |  |  |  |  | 0.25033
28 | 13:13:47 | 2.6 |  |  |  |  | 0.13799
28.5 | 13:14:17 | 2.9 |  |  |  |  | 0.48232
#Nota: en el tiempo marcado en amarillo el sistema ya alcanzo su sp
por lo que se deja fuera del modelo de decaimiento de temperatura