## TZ0324050882
Device Information
******************************
Device Type: TZ-TempU03
Firmware Ver: 4.06
ID: TZ0324050882
Start Delay: 0 min
Log Interval: 30 sec
Description: Pruebas termicas
Note:
All times shown are based on UTC-6:00 and 24-Hour clock[DD/MM/YY HH:MM:SS]
Logging Summary
******************************
First Point: 29/04/25 12:43:48
Stop Time: 29/04/25 13:26:48
Number of Points: 87
Trip Length: 00d 00h 43m 00s
Start Mode: Button Start
Stop Mode: Manual Stop
Max: 26.5C(Temp)/47.0%RH(Humidity)
Min: 8.2C(Temp)/31.1%RH(Humidity)
Average:14.4C(Temp)/42.3%RH(Humidity)
MKT: 16.2C
Marked Events
******************************
N/A
Alarm Condition | Alarm Delay | First Point Time | Time of Violations | No.of Violations | Status
****************************** | ****************************** | ****************************** | ******************************
Over 8.0C | 00d 00h 10m 00s | 29/04/25 12:43:48 | 00d 00h 43m 00s | 87 | Alarm
Below 2.0C | 00d 00h 10m 00s | 00/00/00 00:00:00 | 00d 00h 00m 00s | 0 | OK
Over 90.0%RH | 00d 00h 10m 00s | 00/00/00 00:00:00 | 00d 00h 00m 00s | 0 | OK
Below 15.0%RH | 00d 00h 10m 00s | 00/00/00 00:00:00 | 00d 00h 00m 00s | 0 | OK
Date | Time | Temperature(C) | Humidity(%RH)
****************************** | ****************************** | ****************************** | ******************************
2025-04-29 | 12:43:48 | 26.3 | 42.4
2025-04-29 | 12:44:18 | 26.5 | 33.7
2025-04-29 | 12:44:48 | 26.5 | 32.3
2025-04-29 | 12:45:18 | 26.3 | 31.9
2025-04-29 | 12:45:48 | 26.1 | 31.2
2025-04-29 | 12:46:18 | 25.8 | 31.1
2025-04-29 | 12:46:48 | 25.3 | 31.2
2025-04-29 | 12:47:18 | 24.7 | 31.6
2025-04-29 | 12:47:48 | 24 | 32.1
2025-04-29 | 12:48:18 | 23.3 | 32.7
2025-04-29 | 12:48:48 | 22.7 | 33.3
2025-04-29 | 12:49:18 | 22.1 | 33.9
2025-04-29 | 12:49:48 | 21.5 | 34.6
2025-04-29 | 12:50:18 | 20.9 | 35.2
2025-04-29 | 12:50:48 | 20.4 | 35.8
2025-04-29 | 12:51:18 | 19.9 | 36.4
2025-04-29 | 12:51:48 | 19.4 | 37.1
2025-04-29 | 12:52:18 | 19 | 37.5
2025-04-29 | 12:52:48 | 18.5 | 38.1
2025-04-29 | 12:53:18 | 18.2 | 38.6
2025-04-29 | 12:53:48 | 17.8 | 39.1
2025-04-29 | 12:54:18 | 17.4 | 39.5
2025-04-29 | 12:54:48 | 17.1 | 40
2025-04-29 | 12:55:18 | 16.8 | 40.4
2025-04-29 | 12:55:48 | 16.5 | 40.6
2025-04-29 | 12:56:18 | 16.2 | 40.9
2025-04-29 | 12:56:48 | 15.9 | 41.2
2025-04-29 | 12:57:18 | 15.7 | 41.4
2025-04-29 | 12:57:48 | 15.4 | 41.6
2025-04-29 | 12:58:18 | 15.2 | 42
2025-04-29 | 12:58:48 | 15 | 42.2
2025-04-29 | 12:59:18 | 14.7 | 42.4
2025-04-29 | 12:59:48 | 14.5 | 42.6
2025-04-29 | 13:00:18 | 14.3 | 42.7
2025-04-29 | 13:00:48 | 14.1 | 42.8
2025-04-29 | 13:01:18 | 14 | 43
2025-04-29 | 13:01:48 | 13.8 | 43.1
2025-04-29 | 13:02:18 | 13.6 | 43.3
2025-04-29 | 13:02:48 | 13.5 | 43.5
2025-04-29 | 13:03:18 | 13.3 | 43.6
2025-04-29 | 13:03:48 | 13.1 | 43.8
2025-04-29 | 13:04:18 | 13 | 43.9
2025-04-29 | 13:04:48 | 12.8 | 44.1
2025-04-29 | 13:05:18 | 12.7 | 44.2
2025-04-29 | 13:05:48 | 12.5 | 44.3
2025-04-29 | 13:06:18 | 12.4 | 44.5
2025-04-29 | 13:06:48 | 12.3 | 44.8
2025-04-29 | 13:07:18 | 12.1 | 44.8
2025-04-29 | 13:07:48 | 12 | 44.8
2025-04-29 | 13:08:18 | 11.9 | 45
2025-04-29 | 13:08:48 | 11.8 | 45.2
2025-04-29 | 13:09:18 | 11.7 | 45.4
2025-04-29 | 13:09:48 | 11.6 | 45.4
2025-04-29 | 13:10:18 | 11.4 | 45.4
2025-04-29 | 13:10:48 | 11.3 | 45.6
2025-04-29 | 13:11:18 | 11.2 | 45.7
2025-04-29 | 13:11:48 | 11.1 | 45.7
2025-04-29 | 13:12:18 | 11 | 45.7
2025-04-29 | 13:12:48 | 10.9 | 45.7
2025-04-29 | 13:13:18 | 10.8 | 45.7
2025-04-29 | 13:13:48 | 10.7 | 45.7
2025-04-29 | 13:14:18 | 10.6 | 45.8
2025-04-29 | 13:14:48 | 10.5 | 45.8
2025-04-29 | 13:15:18 | 10.4 | 45.8
2025-04-29 | 13:15:48 | 10.3 | 45.9
2025-04-29 | 13:16:18 | 10.2 | 46
2025-04-29 | 13:16:48 | 10 | 46.1
2025-04-29 | 13:17:18 | 10 | 46.2
2025-04-29 | 13:17:48 | 9.9 | 46.3
2025-04-29 | 13:18:18 | 9.7 | 46.4
2025-04-29 | 13:18:48 | 9.6 | 46.5
2025-04-29 | 13:19:18 | 9.5 | 46.6
2025-04-29 | 13:19:48 | 9.5 | 46.6
2025-04-29 | 13:20:18 | 9.4 | 46.6
2025-04-29 | 13:20:48 | 9.3 | 46.6
2025-04-29 | 13:21:18 | 9.2 | 46.6
2025-04-29 | 13:21:48 | 9.1 | 46.7
2025-04-29 | 13:22:18 | 9 | 46.7
2025-04-29 | 13:22:48 | 8.9 | 46.8
2025-04-29 | 13:23:18 | 8.8 | 46.8
2025-04-29 | 13:23:48 | 8.7 | 46.8
2025-04-29 | 13:24:18 | 8.7 | 46.8
2025-04-29 | 13:24:48 | 8.6 | 46.8
2025-04-29 | 13:25:18 | 8.5 | 47
2025-04-29 | 13:25:48 | 8.4 | 47
2025-04-29 | 13:26:18 | 8.3 | 47
2025-04-29 | 13:26:48 | 8.2 | 46.3

## Hoja1
Min | Time | Temp | Temp_modelo | error | descenso/min
0 | 12:43:48 | 26.3
0.5 | 12:44:18 | 26.5 | 26.0227 | 0.22786 | 0
1 | 12:44:48 | 26.5 | 25.5554 | 0.89219 | 0.2 |  |  |  | k | 0.042887 | Modelo de enfriamiento
1.5 | 12:45:18 | 26.3 | 25.0981 | 1.4445 | 0.2 |  |  |  | T_objetivo | 4
2 | 12:45:48 | 26.1 | 24.6505 | 2.101 | 0.3 |  |  |  | T_ambiente | 26.5
2.5 | 12:46:18 | 25.8 | 24.2124 | 2.5204 | 0.5
3 | 12:46:48 | 25.3 | 23.7836 | 2.2994 | 0.6 |  |  |  | 27.4 + (27.3 - 27.4) * EXP(-H2 * A2)
3.5 | 12:47:18 | 24.7 | 23.3639 | 1.7852 | 0.7
4 | 12:47:48 | 24 | 22.9531 | 1.096 | 0.7 |  |  |  | k_calc | #REF!
4.5 | 12:48:18 | 23.3 | 22.551 | 0.56101 | 0.6
5 | 12:48:48 | 22.7 | 22.1574 | 0.29438 | 0.6
5.5 | 12:49:18 | 22.1 | 21.7722 | 0.10744 | 0.6
6 | 12:49:48 | 21.5 | 21.3952 | 0.010989 | 0.6
6.5 | 12:50:18 | 20.9 | 21.0261 | 0.015908 | 0.5
7 | 12:50:48 | 20.4 | 20.6649 | 0.070179 | 0.5
7.5 | 12:51:18 | 19.9 | 20.3114 | 0.16922 | 0.5
8 | 12:51:48 | 19.4 | 19.9653 | 0.31958 | 0.4
8.5 | 12:52:18 | 19 | 19.6266 | 0.39263 | 0.5
9 | 12:52:48 | 18.5 | 19.2951 | 0.63215 | 0.3
9.5 | 12:53:18 | 18.2 | 18.9706 | 0.59381 | 0.4
10 | 12:53:48 | 17.8 | 18.653 | 0.72759 | 0.4
10.5 | 12:54:18 | 17.4 | 18.3421 | 0.88759 | 0.3
11 | 12:54:48 | 17.1 | 18.0378 | 0.87956 | 0.3
11.5 | 12:55:18 | 16.8 | 17.74 | 0.88366 | 0.3
12 | 12:55:48 | 16.5 | 17.4485 | 0.89971 | 0.3
12.5 | 12:56:18 | 16.2 | 17.1632 | 0.92779 | 0.3
13 | 12:56:48 | 15.9 | 16.884 | 0.96817 | 0.2
13.5 | 12:57:18 | 15.7 | 16.6106 | 0.82923 | 0.3
14 | 12:57:48 | 15.4 | 16.3431 | 0.8894 | 0.2
14.5 | 12:58:18 | 15.2 | 16.0812 | 0.77655 | 0.2
15 | 12:58:48 | 15 | 15.8249 | 0.68048 | 0.3
15.5 | 12:59:18 | 14.7 | 15.574 | 0.76395 | 0.2
16 | 12:59:48 | 14.5 | 15.3285 | 0.68641 | 0.2
16.5 | 13:00:18 | 14.3 | 15.0882 | 0.6212 | 0.2
17 | 13:00:48 | 14.1 | 14.8529 | 0.56689 | 0.1
17.5 | 13:01:18 | 14 | 14.6227 | 0.38772 | 0.2
18 | 13:01:48 | 13.8 | 14.3973 | 0.35678 | 0.2
18.5 | 13:02:18 | 13.6 | 14.1767 | 0.33262 | 0.1
19 | 13:02:48 | 13.5 | 13.9608 | 0.21236 | 0.2
19.5 | 13:03:18 | 13.3 | 13.7495 | 0.20206 | 0.2
20 | 13:03:48 | 13.1 | 13.5427 | 0.19595 | 0.1
20.5 | 13:04:18 | 13 | 13.3402 | 0.11575 | 0.2
21 | 13:04:48 | 12.8 | 13.1421 | 0.11701 | 0.1
21.5 | 13:05:18 | 12.7 | 12.9481 | 0.061559 | 0.2
22 | 13:05:48 | 12.5 | 12.7583 | 0.066706 | 0.1
22.5 | 13:06:18 | 12.4 | 12.5725 | 0.029744 | 0.1
23 | 13:06:48 | 12.3 | 12.3906 | 0.0082079 | 0.2
23.5 | 13:07:18 | 12.1 | 12.2126 | 0.012676 | 0.1
24 | 13:07:48 | 12 | 12.0384 | 0.0014712 | 0.1
24.5 | 13:08:18 | 11.9 | 11.8678 | 0.0010355 | 0.1
25 | 13:08:48 | 11.8 | 11.7009 | 0.0098203 | 0.1
25.5 | 13:09:18 | 11.7 | 11.5375 | 0.026398 | 0.1
26 | 13:09:48 | 11.6 | 11.3776 | 0.049455 | 0.2
26.5 | 13:10:18 | 11.4 | 11.2211 | 0.032006 | 0.1
27 | 13:10:48 | 11.3 | 11.0679 | 0.053871 | 0.1
27.5 | 13:11:18 | 11.2 | 10.918 | 0.079551 | 0.1
28 | 13:11:48 | 11.1 | 10.7712 | 0.10812 | 0.1
28.5 | 13:12:18 | 11 | 10.6275 | 0.13873 | 0.1
29 | 13:12:48 | 10.9 | 10.4869 | 0.17063 | 0.1
29.5 | 13:13:18 | 10.8 | 10.3493 | 0.20313 | 0.1
30 | 13:13:48 | 10.7 | 10.2146 | 0.23561 | 0.1
30.5 | 13:14:18 | 10.6 | 10.0828 | 0.26754 | 0.1
31 | 13:14:48 | 10.5 | 9.9537 | 0.29843 | 0.1
31.5 | 13:15:18 | 10.4 | 9.8274 | 0.32787 | 0.1
32 | 13:15:48 | 10.3 | 9.7038 | 0.35549 | 0.1
32.5 | 13:16:18 | 10.2 | 9.5828 | 0.38098 | 0.2
33 | 13:16:48 | 10 | 9.4643 | 0.28695 | 0
33.5 | 13:17:18 | 10 | 9.3484 | 0.42459 | 0.1
34 | 13:17:48 | 9.9 | 9.2349 | 0.44232 | 0.2
34.5 | 13:18:18 | 9.7 | 9.1239 | 0.33193 | 0.1
35 | 13:18:48 | 9.6 | 9.0152 | 0.34203 | 0.1
35.5 | 13:19:18 | 9.5 | 8.9088 | 0.34956 | 0
36 | 13:19:48 | 9.5 | 8.8046 | 0.48354 | 0.1
36.5 | 13:20:18 | 9.4 | 8.7027 | 0.48623 | 0.1
37 | 13:20:48 | 9.3 | 8.6029 | 0.48591 | 0.1
37.5 | 13:21:18 | 9.2 | 8.5053 | 0.48264 | 0.1
38 | 13:21:48 | 9.1 | 8.4097 | 0.47652 | 0.1
38.5 | 13:22:18 | 9 | 8.3161 | 0.46766 | 0.1
39 | 13:22:48 | 8.9 | 8.2246 | 0.4562 | 0.1
39.5 | 13:23:18 | 8.8 | 8.1349 | 0.4423 | 0.1
40 | 13:23:48 | 8.7 | 8.0472 | 0.42612 | 0
40.5 | 13:24:18 | 8.7 | 7.9614 | 0.54559 | 0.1
41 | 13:24:48 | 8.6 | 7.8773 | 0.52227 | 0.1
41.5 | 13:25:18 | 8.5 | 7.7951 | 0.49694 | 0.1
42 | 13:25:48 | 8.4 | 7.7145 | 0.46985 | 0.1
42.5 | 13:26:18 | 8.3 | 7.6357 | 0.44124 | 0.1
43 | 13:26:48 | 8.2 | 7.5586 | 0.41138
|  |  | suma error | 29.2665 |  | descenso_prom | 0.43059 | [°C/min]
𝑇(𝑡)=𝑇_𝑜𝑏𝑗𝑒𝑡𝑖𝑣𝑜+(𝑇_0−𝑇_𝑜𝑏𝑗𝑒𝑡𝑖𝑣𝑜 ) 𝑒^(−𝑘𝑡)