## TZ0323110038
Device Information
******************************
Device Type: TZ-TempU03
Firmware Ver: 4.05
ID: TZ0323110038
Start Delay: 0 min
Log Interval: 30 sec
Description: Pruebas termicas
Note:
All times shown are based on UTC-6:00 and 24-Hour clock[DD/MM/YY HH:MM:SS]
Logging Summary
******************************
First Point: 29/04/25 12:49:51
Stop Time: 29/04/25 13:40:51
Number of Points: 103
Trip Length: 00d 00h 51m 00s
Start Mode: Button Start
Stop Mode: USB Stop
Max: 29.2C(Temp)/83.8%RH(Humidity)
Min: 5.3C(Temp)/30.9%RH(Humidity)
Average:17.9C(Temp)/38.3%RH(Humidity)
MKT: 21.1C
Marked Events
******************************
N/A
Alarm Condition | Alarm Delay | First Point Time | Time of Violations | No.of Violations | Status
****************************** | ****************************** | ****************************** | ******************************
Over 8.0C | 00d 00h 10m 00s | 29/04/25 12:49:51 | 00d 00h 42m 30s | 86 | Alarm
Below 2.0C | 00d 00h 10m 00s | 00/00/00 00:00:00 | 00d 00h 00m 00s | 0 | OK
Over 90.0%RH | 00d 00h 10m 00s | 00/00/00 00:00:00 | 00d 00h 00m 00s | 0 | OK
Below 15.0%RH | 00d 00h 10m 00s | 00/00/00 00:00:00 | 00d 00h 00m 00s | 0 | OK
Date | Time | Temperature(C) | Humidity(%RH)
****************************** | ****************************** | ****************************** | ******************************
2025-04-29 | 12:49:51 | 29.2 | 35.4
2025-04-29 | 12:50:21 | 29.1 | 34.4
2025-04-29 | 12:50:51 | 29.1 | 33.5
2025-04-29 | 12:51:21 | 28.9 | 32.7
2025-04-29 | 12:51:51 | 28.8 | 32.5
2025-04-29 | 12:52:21 | 28.7 | 32.5
2025-04-29 | 12:52:51 | 28.5 | 32.5
2025-04-29 | 12:53:21 | 28.4 | 31.2
2025-04-29 | 12:53:51 | 28 | 30.9
2025-04-29 | 12:54:21 | 27.4 | 30.9
2025-04-29 | 12:54:51 | 26.5 | 31.3
2025-04-29 | 12:55:21 | 25.6 | 32
2025-04-29 | 12:55:51 | 24.7 | 32.6
2025-04-29 | 12:56:21 | 23.8 | 33.5
2025-04-29 | 12:56:51 | 23 | 34.3
2025-04-29 | 12:57:21 | 22.2 | 34.9
2025-04-29 | 12:57:51 | 21.4 | 35.3
2025-04-29 | 12:58:21 | 20.6 | 35.7
2025-04-29 | 12:58:51 | 19.9 | 36
2025-04-29 | 12:59:21 | 19.2 | 36.1
2025-04-29 | 12:59:51 | 18.5 | 36.2
2025-04-29 | 13:00:21 | 17.8 | 36.3
2025-04-29 | 13:00:51 | 17.2 | 36.4
2025-04-29 | 13:01:21 | 16.6 | 36.4
2025-04-29 | 13:01:51 | 16.1 | 36.4
2025-04-29 | 13:02:21 | 15.6 | 36.4
2025-04-29 | 13:02:51 | 15.1 | 36.5
2025-04-29 | 13:03:21 | 14.5 | 36.6
2025-04-29 | 13:03:51 | 14.1 | 36.7
2025-04-29 | 13:04:21 | 13.7 | 37
2025-04-29 | 13:04:51 | 13.3 | 37.2
2025-04-29 | 13:05:21 | 12.8 | 37.3
2025-04-29 | 13:05:51 | 12.5 | 37.4
2025-04-29 | 13:06:21 | 12.1 | 37.6
2025-04-29 | 13:06:51 | 11.8 | 37.8
2025-04-29 | 13:07:21 | 11.4 | 38
2025-04-29 | 13:07:51 | 11.1 | 38.3
2025-04-29 | 13:08:21 | 10.9 | 38.3
2025-04-29 | 13:08:51 | 10.5 | 38.4
2025-04-29 | 13:09:21 | 10.3 | 38.6
2025-04-29 | 13:09:51 | 10 | 38.5
2025-04-29 | 13:10:21 | 9.7 | 38.7
2025-04-29 | 13:10:51 | 9.5 | 38.7
2025-04-29 | 13:11:21 | 9.2 | 38.7
2025-04-29 | 13:11:51 | 9 | 38.7
2025-04-29 | 13:12:21 | 8.7 | 38.7
2025-04-29 | 13:12:51 | 8.5 | 38.7
2025-04-29 | 13:13:21 | 8.3 | 38.7
2025-04-29 | 13:13:51 | 8 | 38.9
2025-04-29 | 13:14:21 | 7.8 | 39
2025-04-29 | 13:14:51 | 7.6 | 39.1
2025-04-29 | 13:15:21 | 7.4 | 39
2025-04-29 | 13:15:51 | 7.2 | 39.1
2025-04-29 | 13:16:21 | 7 | 39.2
2025-04-29 | 13:16:51 | 6.7 | 39.3
2025-04-29 | 13:17:21 | 6.5 | 39.4
2025-04-29 | 13:17:51 | 6.3 | 39.5
2025-04-29 | 13:18:21 | 6.1 | 39.5
2025-04-29 | 13:18:51 | 6 | 39.5
2025-04-29 | 13:19:21 | 5.8 | 39.6
2025-04-29 | 13:19:51 | 5.6 | 39.7
2025-04-29 | 13:20:21 | 5.4 | 40
2025-04-29 | 13:20:51 | 5.3 | 41.3
2025-04-29 | 13:21:21 | 5.3 | 42.4
2025-04-29 | 13:21:51 | 5.4 | 43.5
2025-04-29 | 13:22:21 | 8.1 | 72.5
2025-04-29 | 13:22:51 | 11.8 | 83.8
2025-04-29 | 13:23:21 | 14.6 | 61.6
2025-04-29 | 13:23:51 | 16.1 | 53.4
2025-04-29 | 13:24:21 | 17.1 | 48.9
2025-04-29 | 13:24:51 | 18 | 46.2
2025-04-29 | 13:25:21 | 18.7 | 44.1
2025-04-29 | 13:25:51 | 19.3 | 43.3
2025-04-29 | 13:26:21 | 19.8 | 42.8
2025-04-29 | 13:26:51 | 20.2 | 41.2
2025-04-29 | 13:27:21 | 20.7 | 40.3
2025-04-29 | 13:27:51 | 21 | 39.8
2025-04-29 | 13:28:21 | 21.4 | 40.7
2025-04-29 | 13:28:51 | 22 | 38.8
2025-04-29 | 13:29:21 | 22.5 | 39
2025-04-29 | 13:29:51 | 23 | 37.8
2025-04-29 | 13:30:21 | 23.4 | 38.7
2025-04-29 | 13:30:51 | 23.8 | 37.6
2025-04-29 | 13:31:21 | 24.2 | 36.7
2025-04-29 | 13:31:51 | 24.6 | 34.9
2025-04-29 | 13:32:21 | 24.9 | 34
2025-04-29 | 13:32:51 | 25.3 | 35.5
2025-04-29 | 13:33:21 | 25.8 | 36.5
2025-04-29 | 13:33:51 | 26.3 | 38
2025-04-29 | 13:34:21 | 26.8 | 41.6
2025-04-29 | 13:34:51 | 27.3 | 43.3
2025-04-29 | 13:35:21 | 27.6 | 34.2
2025-04-29 | 13:35:51 | 27.7 | 32.6
2025-04-29 | 13:36:21 | 27.8 | 31.7
2025-04-29 | 13:36:51 | 27.8 | 31.2
2025-04-29 | 13:37:21 | 27.8 | 31.2
2025-04-29 | 13:37:51 | 27.7 | 32.4
2025-04-29 | 13:38:21 | 27.7 | 32.6
2025-04-29 | 13:38:51 | 27.6 | 33.4
2025-04-29 | 13:39:21 | 27.4 | 33.4
2025-04-29 | 13:39:51 | 27.2 | 32.9
2025-04-29 | 13:40:21 | 27 | 32.8
2025-04-29 | 13:40:51 | 26.9 | 37.6

## Hoja1
Min | Time | Temp | Temp_modelo | error
0 | 12:53:51 | 28 | 28 | 0
0.5 | 12:54:21 | 27.4 | 26.9685 | 0.18623
1 | 12:54:51 | 26.5 | 25.9812 | 0.26911
1.5 | 12:55:21 | 25.6 | 25.0365 | 0.31757 | k | 0.087864 | Modelo de enfriamiento
2 | 12:55:51 | 24.7 | 24.1323 | 0.32229 | T_objetivo | 4
2.5 | 12:56:21 | 23.8 | 23.267 | 0.28411 | T_ambiente | 28
3 | 12:56:51 | 23 | 22.4389 | 0.31487
3.5 | 12:57:21 | 22.2 | 21.6463 | 0.30654 | 27.4 + (27.3 - 27.4) * EXP(-H2 * A2)
4 | 12:57:51 | 21.4 | 20.8879 | 0.26226
4.5 | 12:58:21 | 20.6 | 20.162 | 0.19182
5 | 12:58:51 | 19.9 | 19.4674 | 0.18718
5.5 | 12:59:21 | 19.2 | 18.8026 | 0.15796
6 | 12:59:51 | 18.5 | 18.1663 | 0.11134
6.5 | 13:00:21 | 17.8 | 17.5574 | 0.058835 |  | 0.04
7 | 13:00:51 | 17.2 | 16.9747 | 0.050748
7.5 | 13:01:21 | 16.6 | 16.4171 | 0.033468
8 | 13:01:51 | 16.1 | 15.8834 | 0.046933
8.5 | 13:02:21 | 15.6 | 15.3726 | 0.051711
9 | 13:02:51 | 15.1 | 14.8838 | 0.046746
9.5 | 13:03:21 | 14.5 | 14.416 | 0.007057
10 | 13:03:51 | 14.1 | 13.9683 | 0.017344
10.5 | 13:04:21 | 13.7 | 13.5399 | 0.025647
11 | 13:04:51 | 13.3 | 13.1298 | 0.028961
11.5 | 13:05:21 | 12.8 | 12.7374 | 0.0039175
12 | 13:05:51 | 12.5 | 12.3619 | 0.019081
12.5 | 13:06:21 | 12.1 | 12.0025 | 0.0095134
13 | 13:06:51 | 11.8 | 11.6585 | 0.02002
13.5 | 13:07:21 | 11.4 | 11.3293 | 0.0049932
14 | 13:07:51 | 11.1 | 11.0143 | 0.0073421
14.5 | 13:08:21 | 10.9 | 10.7128 | 0.035032
15 | 13:08:51 | 10.5 | 10.4243 | 0.0057296
15.5 | 13:09:21 | 10.3 | 10.1482 | 0.023049
16 | 13:09:51 | 10 | 9.8839 | 0.013473
16.5 | 13:10:21 | 9.7 | 9.631 | 0.0047571
17 | 13:10:51 | 9.5 | 9.389 | 0.012321
17.5 | 13:11:21 | 9.2 | 9.1574 | 0.0018169
18 | 13:11:51 | 9 | 8.9357 | 0.0041339
18.5 | 13:12:21 | 8.7 | 8.7236 | 0.0005552
19 | 13:12:51 | 8.5 | 8.5205 | 0.00042183
19.5 | 13:13:21 | 8.3 | 8.3262 | 0.00068857
20 | 13:13:51 | 8 | 8.1403 | 0.019682
20.5 | 13:14:21 | 7.8 | 7.9623 | 0.026354
21 | 13:14:51 | 7.6 | 7.792 | 0.036877
21.5 | 13:15:21 | 7.4 | 7.629 | 0.052463
22 | 13:15:51 | 7.2 | 7.4731 | 0.074566
22.5 | 13:16:21 | 7 | 7.3238 | 0.10484
23 | 13:16:51 | 6.7 | 7.1809 | 0.23129
23.5 | 13:17:21 | 6.5 | 7.0442 | 0.29616
24 | 13:17:51 | 6.3 | 6.9134 | 0.37622
24.5 | 13:18:21 | 6.1 | 6.7881 | 0.47355
25 | 13:18:51 | 6 | 6.6683 | 0.44664
25.5 | 13:19:21 | 5.8 | 6.5536 | 0.56795
26 | 13:19:51 | 5.6 | 6.4439 | 0.71211
26.5 | 13:20:21 | 5.4 | 6.3388 | 0.88139
27 | 13:20:51 | 5.3 | 6.2383 | 0.88041
27.5 | 13:21:21 | 5.3 | 6.1421 | 0.70912
28 | 13:21:51 | 5.4 | 6.05 | 0.42253
|  |  | suma error | 9.7577
𝑇(𝑡)=𝑇_𝑜𝑏𝑗𝑒𝑡𝑖𝑣𝑜+(𝑇_0−𝑇_𝑜𝑏𝑗𝑒𝑡𝑖𝑣𝑜 ) 𝑒^(−𝑘𝑡)